## Questionnaire_connection_data
Questionnaire connection data of a heat customer
| Heat customer data | [9 empty] | Examplary heat customer data questionary
1 | Id. Number | Property designation | [7 empty] | 1 | Id. Number 001, 002, 003, …. |  | Property designation
2 | Street, no. | [8 empty] | 2 | Street, no.
| Postcode | Location | [8 empty] | Postcode | Location
| Federal state |  |  |  | Network plan no. | [5 empty] | Federal state |  | Network plan no.
3 | Owner/Contact person |  |  |  | Phone |  |  |  |  | 3 | Owner/Contact person |  | Phone
| Mobile phone |  |  |  | Email | [5 empty] | Mobile phone |  | Email
4 | Contract date | [8 empty] | 4 | Contract date or letter of intent
5 | Start date of heat supply |  |  |  |  | End date of heat supply |  |  |  | 5 | Start date of heat supply e.g. 17.6.2009 |  | End date of heat supply. Only upon contract conclusion
6 | Heat demand of | [8 empty] | 6 | Heat demand of (heating/hot water), process heat or both
7 | Type of heat consumer | [8 empty] | 7 | Type of consumer: privat, commercial, agricultural holding, public building oder internal heat consumption
8 | Distance to heating plant [m] | [5 empty] | Length of house connection pipe [m] |  |  | 8 | Distance to length based on network plan |  | Length of house connection pipe
| Object description | [9 empty] | Short description of the object | Building type: single- or multifamily house, industry, agritural business, offices, retail school, medical or other
9 | Building construction year |  | Building type | [6 empty] | 9 | Building construction year e.g. 1960, 2004
10 | Number of floors | Number of apartments |  |  |  |  | New building |  |  | 10 | Number of floors | Number of apartments |  | New building
11 | Single home |  |  | Energy reference area [m2] | [5 empty] | 11 | Single home | Energy reference area (heated floor area)
12 | Planned measures | [8 empty] | 12 | Planned measures e.g. thermal insulation, rebuild, building expansion, solar installation etc.
13 | Annual space heating demand [kWh] | [6 empty] | Heat capacity - space heating [kW] |  | 13 | Annual space heating demand in kWh |  | Heat capacity - space heating in kW
14 | Annual heat demand for hot water [kWh] | [6 empty] | Heat capacity - hot water [kW] |  | 14 | Annual heat demand for hot water in kWh |  | Heat capacity - hot water in kW
15 | Annual process heat demand [kWh] | [6 empty] | Heat capacity - process heat [kW] |  | 15 | Annual process heat demand in kWh |  | Heat capacity - process heat in kW
16 | Correction factor for heating demand | [6 empty] | Correction factor for heat capacity |  | 16 | Correction factor for heating demand e.g. 0,8, 1, 1,1 ... |  | Correction factor for heat capacity e.g. 0,8,1, 1,1….
17 | Contracted heat capacity [kW] |  | Boiler construction year | [6 empty] | 17 | Contracted heat capacity, It can differ from the installed |  |  | Boiler construction year
18 | Max. supply temperature [°C] |  | Max. return temperature [°C] | [6 empty] | 18 | Max. supply temperature by heat supply contract |  | Max. return temperature by heat supply contract
| Replaced energy carrier |  | Quantity | [5 empty] | Hot water included |  | Replaced energy carrier e.g. coal, oil, gas, wood, … |  | Quantity of replaced fuel consumption. Hot water incl.?
19 | General remark / explanation | [8 empty] | 19 | General remarks on the customer object (building) or installation
20 | Actual operating data (only relevant for existing customers) | [8 empty] | 20 | Operating data based on actual operation e.g. latest operating report
21 | Year | [8 empty] | 21 | Operating year being considered
22 | Annual heat consumption [kWh/a] | [5 empty] | Counter reading - heat quantity [kWh] |  |  | 22 | e.g. 16.400 kWh |  | e.g. 72.759 kWh
23 | Annual flow rate [m³/a] | [5 empty] | Counter reading - volume [m³] |  |  | 23 | e.g. 224 m³ |  | e.g. 936 m³
24 | Meter reading date | [5 empty] | Contractual amendment |  |  | 24 | Meter reading date |  | Contractual amedment
25 | Contracted heat capacity [kW] | [8 empty] | 25 | Contractual connected load, if changes on the heat supply contract
26 | Average supply temperature [°C] | [5 empty] | Average return temperature [°C] |  |  | 26 | Average annual supply temperature |  | Average annual return temperature
Note on C16: Heat for ... (heating/dometic hot water), process heat or both
Note on C17: privat, commercial, agricultural holding, public building oder internal heat consumption
Note on C22: All heated floors including ground floor and cellar if heated!
Note on C23: Check if the object is a single home. Leave empty otherwise
Note on D24: None, Thermal insulation, building expansion, etc.
Note on E34: Add general remarks on the object, or some additional explanation
Note on J21: Building type: single- or multifamily house, industry, agritural business, offices, retail school, medical or other
Note on P22: Check if the object is a new building. Leave empty otherwise
Note on R33: Check if hot water is included in the quantity of heat suplied by the replaced energy carrier. Leave empty otherwise.

## Explanatory_notes
Pos. | Explanation
0 | All yellow fields automatically turn white when you enter data in the field. This makes it easier to keep track of which details still need to be entered and which have already been completed.
1 | Id. Number; Unique customer number to facilitate identification.
2 | Complete address (street and number, postcode and federal state) and Network plan no. I.e. Identification number within the network.
3 | Data of a contact person who can give information about the connection data, ideal with mobile phone number AND email adress
4 | Signing date of the heat supply contract
5 | Starting and ending date of heat supply
6 | Heat demand of: heat for space heating and hot water preparation, process heat or both.
7 | Type of customer: public building, agricultural holding, commercial customer (process heat), private customer, internal heat consumption
8 | Distance to heating plant: Distance of the connection to the heating plant - trench length according to the network plan. Length of house connection pipe: Length of the connection line from the main line to the transfer station of the connection.
9 | Type of building: single-family house, multiple dwelling, industry, agricultural business, offices, retail, school, medical center or others (you can describe the customer on the remark section, see pos 19). This information can be used to estimate a heat consumption profile.
10 | Number of heated floors including ground floor. In the case of a group of buildings (such as a terraced house, or a multi-storey residential building in which several buildings are built together), please enter the number of apartments; new building an 'x' if it is a building that was erected within the last year or will be erected.
11 | "Check" if it is a single building (detached house), or leave unchecked if the customer is a group of buildings (such as a terraced house, or a multi-storey residential building in which several buildings are built together); Energy reference area represents the heated floor area,
12 | Indicate if there are any energy relevant measures planed, such as thermal insulation, rebuild, building expansion.
13 | Annual space heating demand and related heat capacity requirement. Actual annual heat demand based on previous billing or calculation using key figures from heating load.
14 | Annual heat demand for hot water and related heat capacity requirement. Actual annual heat demand can be assessed based on previous billing or calculation using key figures.
15 | Annual process heat demand and related heat capacity requirement. Actual annual heat demand based on previous energy billing, measurement or exact survey using energy consumption profile for day, week, month, year.
16 | Correction factors - To be used when there is a founded reason that the stated heat demand and/or heat capacity requirement should be increased or reduced. If, for example, a cellar room in a detached house is also heated and this is not included in the specified energy reference area (gross living space), then the correction factor for heating demand should be specified as e.g. 1,1 if this room amounts to 10% of the energy reference area.
17 | Contractually agreed installed heat capacity and contruction year of the replaced boiler.
18 | Maximum supply and return temperatures. Current energy carriers replaced by the district heating network (oil, natural gas, wood, coal, others ...)
19 | Additional remarks on this customer, which do not fit in any of the other fields
20 | Actual operating data of the heating plant - Specification of data during operation
21 | Year of operation being considerd
22 | Annual heat consumption in kWh/a and thermal counter reading value at meter reading date
23 | Annual flow rate in m3/a and volume counter reading value at meter reading date
24 | Meter reading date and Date of modification of contractual terms, type of contractual modification
25 | New contractual connected load
26 | Average supply and return temperature
This questionnaire is a translation based on a German document which was developed by the Austrian "klimaaktiv QM Heizwerke" program.
The translation was carried out within the European project ENhancing renewable heaT planning for improving the aiR quAlity of commuNities (ENTRAIN).
"klimaaktiv QM Heizwerke" is a quality management program throughout Austria in order to improve the technical quality and efficiency of biomass heating plants and district heating grids. This is achieved by accompanying quality control during the planning, construction and operation phase. For consulting and further information see www.klimaaktiv.at/qmheizwerke
"klimaaktiv QM Heizwerke" is supported by the Austrian Federal Ministry for Climate Protection, Environment, Energy, Mobility, Innovation and Technology (BMK).